1

RESEARCH PROPOSAL

RESEARCH TITLE:

IMPROVING RARE LUNG DISEASE DETECTION (NODULES AND FIBROSIS) IN CHEST X-RAYS USING DEEP LEARNING WITH CLASS-IMBALANCE AND EXPLAINABLE AI

PROGRAMME	: MASTER IN COMPUTER SCIENCE (RESEARCH)

NAME	: BRIAN TING CHIN ING

SUPERVISOR	: DR. SIM HIEW MOI

CO-SUPERVISOR	: DR. PANG YEE YONG

Faculty of Computing

Universiti Teknologi Malaysia 81310 Skudai Johor Malaysia

# Table Of Content

EXECUTIVE SUMMARY	3

1.	Introduction	5

2.	Problem Statement	5

3.	Objectives	6

4.	Literature Review	6

5.	Methodology	8

6.	Hypothesis	11

7.	Expected Results	11

8.	Contribution to the Nation	12

9.	Conclusion	12

REFERENCES	13

# EXECUTIVE SUMMARY

This study is designed to improve the detection of rare lung diseases, specifically pulmonary nodules and pulmonary fibrosis, from chest X-ray images using advanced deep learning techniques. Despite significant progress in AI-driven chest X-ray analysis, current models remain biased toward common diseases due to severe class imbalance, limited rare disease samples, and the subtle appearance of abnormalities. This limitation results in reduced sensitivity and accuracy, potentially delaying diagnosis and compromising patient outcomes.

To address these challenges, the study integrates multiple publicly available datasets, including ChestX-ray14, CheXpert, and MIMIC-CXR, supplemented with specialized datasets targeting rare conditions. Images will undergo standardized preprocessing, including resizing, normalization, histogram equalization, and label harmonization. Data augmentation strategies, such as flipping, rotation, noise injection, and GAN-based synthetic generation, will be applied alongside algorithmic techniques like dynamic class re-weighting and focal loss to mitigate class imbalance and enhance minority class learning.

The modeling phase will explore multiple architectures, from CNN baselines (DenseNet121, ResNet50) to advanced vision transformers (Swin Transformer) and hybrid CNN-transformer models. Transfer learning and attention mechanisms will enhance feature extraction for subtle radiographic patterns, while explainable AI tools such as Grad-CAM will visualize regions contributing to model predictions, supporting clinical interpretability. Training will leverage five-fold cross-validation with adaptive optimizers, and evaluation will focus on clinically relevant metrics including AUC, F1-score, sensitivity, specificity, and Cohen’s kappa.

Expected outcomes include improved sensitivity and accuracy for rare disease detection, balanced performance across common and rare classes, and interpretable visualizations to aid radiologists. The proposed framework aims to reduce misdiagnoses, support equitable healthcare delivery, and assist radiologists in decision-making. By integrating advanced AI techniques into chest X-ray analysis, this research will contribute to medical imaging innovation, strengthen Malaysia’s digital health initiatives, and promote the adoption of explainable AI in clinical practice.

# Introduction

Lung diseases constitute a major global health concern, with conditions such as pulmonary nodules and pulmonary fibrosis necessitating early detection to improve survival and treatment outcomes [4][5][6]. While chest X-rays are the most widely used diagnostic tool, rare diseases often present with subtle features that are easily missed by radiologists [4][6].

Recent advances in deep learning have achieved high overall accuracy (80–88%) for chest X-ray classification [7]. However, this performance is largely driven by common diseases such as pneumonia and effusion. For rare conditions like nodules and fibrosis, reported accuracy and AUC values are significantly lower, often falling below 70–75% [4][5]. This discrepancy highlights a critical gap: existing models are not yet reliable for rare disease detection, limiting their clinical effectiveness.

The challenges arise mainly from severe class imbalance, limited availability of positive samples, and the subtle appearance of rare abnormalities [8]. Therefore, there is a strong need to design improved deep learning frameworks that specifically address rare disease detection in chest X-rays. This study aims to focus on pulmonary nodules and fibrosis, developing methods to enhance sensitivity and accuracy for these conditions, ultimately facilitating earlier and more reliable diagnosis.

# Problem Statement

Despite substantial progress in deep learning for chest X-ray interpretation, current models remain insufficient for the detection of rare lung diseases such as pulmonary nodules and fibrosis. Most existing approaches are trained on large-scale datasets where common diseases such as pneumonia, effusion, and cardiomegaly dominate, resulting in models that are biased toward frequent conditions [1][2][3][4]. This imbalance causes a consistent drop in sensitivity for rare classes, with accuracy and AUC values often falling below the threshold required for clinical reliability [7].

Furthermore, the subtle appearance of nodules and the early stages of fibrosis in chest X-rays makes manual annotation and automated detection highly challenging [5][9]. Radiologists may overlook these early abnormalities, while deep learning models tend to misclassify them due to insufficient training samples and lack of robust feature extraction methods [5][7]. As a result, patients face delayed diagnoses and poorer clinical outcomes.

To address this gap, there is a pressing need to develop improved deep learning techniques that can enhance the detection of rare lung diseases. Specifically, solutions that can manage class imbalance, highlight subtle radiographic patterns, and generalize across diverse datasets are required [8][10].

# Objectives

- To evaluate the effectiveness of deep learning techniques in improving the detection accuracy of rare lung diseases from chest X-rays.

- To investigate the impact of class imbalance handling methods (e.g., data augmentation, resampling, loss functions) on rare disease classification.

- To identify an optimized deep learning architecture capable of enhancing sensitivity and reliability for rare disease detection.

# Literature Review

Deep learning has emerged as one of the most effective approaches in medical imaging, offering advanced capabilities in analyzing complex visual patterns. Convolutional Neural Networks (CNNs) have been widely applied in disease classification tasks such as tuberculosis, pneumonia, and COVID-19 using chest X-rays [4]. Compared to traditional image processing and statistical methods, CNNs are capable of automatically extracting high-level features from raw medical images, reducing the reliance on handcrafted features and human expertise [7]. These advancements have significantly improved diagnostic efficiency and accuracy, making deep learning a central focus in medical image analysis.

However, rare disease detection remains a major challenge due to the scarcity of available datasets and the severe class imbalance between common and rare conditions [8]. Unlike prevalent diseases where large annotated datasets exist, rare diseases often lack sufficient representation, leading to biased models that fail to generalize effectively [9]. This results in reduced sensitivity, where models tend to overlook rare cases, thereby increasing the likelihood of false negatives [7]. Such limitations pose risks in clinical applications, as undetected rare diseases may lead to severe health consequences for patients.

To mitigate the imbalance problem, various strategies have been introduced. Data augmentation techniques, such as image rotation, flipping, and scaling, have been commonly used to increase dataset diversity [11]. Oversampling and synthetic data generation methods, such as Synthetic Minority Oversampling Technique (SMOTE) and Generative Adversarial Networks (GANs), have also been employed to artificially increase rare disease samples [11][12]. In addition, cost-sensitive learning approaches that assign higher misclassification penalties to rare classes have been shown to improve recall rates [10]. While these methods have shown promise, they are not without drawbacks, as oversampling may introduce redundancy, and synthetic methods may produce unrealistic samples if not carefully tuned.

Recent studies have also investigated the use of hybrid and advanced deep learning models to address rare disease detection. Architectures such as CNN-LSTM and attention-based networks enhance feature extraction by incorporating both spatial and sequential information [10]. Transfer learning, which leverages pretrained models on large-scale datasets, has proven especially beneficial in improving performance when rare disease data is limited [16]. Ensemble learning, combining multiple models to refine predictions, has also been shown to improve robustness in imbalanced medical datasets [10]. Despite these efforts, the accuracy of rare disease detection still lags that of common diseases, highlighting the need for further optimization and innovative approaches.

# Methodology

This study will employ a comprehensive deep learning pipeline to improve the detection of rare thoracic diseases, particularly pulmonary nodules, and pulmonary fibrosis, from chest X-ray images. To ensure reproducibility and access to large-scale data, multiple publicly available datasets will be utilized, including ChestX-ray14 [1], CheXpert [2], and MIMIC-CXR [3]. These datasets provide thousands of radiographs with diverse pathologies, but they remain limited in rare disease cases. To address this gap, external datasets such as NODE21, which focuses on pulmonary nodules, and the CXR-LT 2024 challenge dataset on long-tailed distributions, will be integrated to enrich rare class representation.

The images will undergo standardized preprocessing to ensure consistency across datasets. Preprocessing steps will include resizing to match model input dimensions, normalization of pixel intensity values, and histogram equalization to reduce variation across imaging conditions [12]. Labels will also be harmonized across datasets to create standardized categories for “nodule” and “fibrosis.” Data splitting will be performed at the patient level to avoid data leakage between training and test sets [3].

Given that rare disease categories are underrepresented, data augmentation will play a critical role. Traditional augmentations such as flipping, rotation, and noise injection will be applied [11]. In addition, more advanced strategies such as GAN-based augmentation will be explored to synthesize realistic nodules for training [9]. Alongside augmentation, algorithmic strategies will be employed, including dynamic class re-weighting and focal loss, which prioritize the correct classification of minority classes [10][20].

The modeling phase will compare multiple architectures. CNN-based models such as DenseNet121 and ResNet50 will serve as baselines due to their established success in chest X-ray analysis [13][14]. More advanced vision transformer (ViT) architectures, including Swin Transformers, will be explored for their ability to capture long-range dependencies and subtle radiographic features [15]. Hybrid CNN-transformer models will also be investigated to balance local texture learning with global feature representation [15]. Model interpretability will be enhanced by incorporating explainability tools such as Grad-CAM [17], enabling visualization of regions that contribute most to predictions, which is vital for clinical acceptance.

The training strategy will involve transfer learning with ImageNet-pretrained weights, followed by fine-tuning on medical data [16]. Optimization will be performed using adaptive optimizers such as AdamW with dynamic learning rate schedules [19]. A five-fold cross-validation scheme will be adopted to improve robustness and reduce overfitting [3]. Comparisons will be made across different imbalance mitigation strategies, including oversampling, loss re-weighting, and augmentation-based balancing [10][20].

Finally, evaluation will be based on clinically meaningful metrics. The area under the ROC curve (AUC) and F1-score will be the primary measures of classification performance [4][5]. Since the primary concern in rare disease detection is sensitivity, recall will be emphasized to minimize false negatives [7], while precision and specificity will be considered to reduce false alarms. Additional statistical measures such as Cohen’s kappa will be used to assess agreement between the model and radiologists [18]. Statistical significance testing will also be performed to validate whether improvements over baselines are meaningful [4].

This methodology is expected to not only improve classification performance for rare thoracic diseases but also enhance interpretability, making the proposed system clinically valuable for assisting radiologists in early detection and diagnosis.

Figure 5.1 Research Methodology Flowchart

# Hypothesis

This study hypothesizes that applying advanced deep learning techniques combined with class imbalance handling strategies will significantly improve the detection of rare lung diseases such as pulmonary nodules and pulmonary fibrosis from chest X-rays. Specifically:

i)	Incorporating imbalance-aware methods (e.g., focal loss, oversampling, and GAN-based augmentation) will improve the sensitivity of models towards rare disease classes compared to conventional CNN training.

ii)	Utilizing transfer learning and attention mechanisms will enhance feature extraction of subtle radiographic patterns, leading to higher accuracy in rare disease detection.

iii)	The integration of explainable AI techniques will provide interpretable model outputs, increasing clinical reliability and acceptance by radiologists.

# Expected Results

- Improved accuracy and sensitivity in detecting rare lung diseases (pulmonary nodules and fibrosis), with performance surpassing baseline models reported in recent studies.

- Balanced model performance across both common and rare classes by effectively applying class imbalance handling methods such as focal loss and synthetic augmentation.

- Explainable predictions using visualization techniques (e.g., Grad-CAM) that provide radiologists with interpretable heatmaps highlighting suspected disease areas.

- Benchmark comparisons demonstrating superior results of the proposed framework over state-of-the-art models on widely used datasets.

# Contribution to the Nation

- Enhanced healthcare quality – By improving the detection of rare lung diseases from chest X-rays, the study supports earlier diagnosis and treatment, reducing misdiagnosis and improving patient outcomes.

- Support for radiologists – The proposed AI framework can act as a clinical decision-support tool, reducing diagnostic workload while providing explainable outputs that enhance trust and adoption.

- Accessibility for rural healthcare – AI-based chest X-ray interpretation can assist clinics and hospitals with limited access to radiology specialists, ensuring equitable healthcare services across Malaysia.

- Alignment with national digital health goals – This study strengthens Malaysia’s initiative to integrate artificial intelligence into healthcare, contributing to the Ministry of Health’s vision of digital transformation in medical services.

# Conclusion

In summary, this study aims to address the critical challenge of detecting rare lung diseases, specifically pulmonary nodules and fibrosis, from chest X-rays using deep learning approaches. While existing models have achieved promising results in classifying common thoracic diseases, their performance on rare conditions remains limited due to class imbalance, subtle feature presentation, and insufficient interpretability.

By integrating imbalance-aware strategies, transfer learning, and attention mechanisms, this research is expected to improve the sensitivity and accuracy of rare disease detection. The inclusion of explainable AI techniques will further ensure that model predictions are transparent and clinically reliable. Ultimately, the outcomes of this study will contribute to advancing AI-assisted diagnostic tools, supporting radiologists in clinical practice, and strengthening Malaysia’s healthcare system through innovation in medical imaging technology.

# REFERENCES

- Wang, X., Peng, Y., Lu, L., Lu, Z., Bagheri, M., & Summers, R. M. (2017). ChestX-Ray8: Hospital-Scale Chest X-Ray Database and Benchmarks on Weakly-Supervised Classification and Localization of Common Thorax Diseases (pp. 3462–3471). https://doi.org/10.1109/cvpr.2017.369

- Irvin, J., Rajpurkar, P., Ko, M., Yu, Y., Ciurea-Ilcus, S., Chute, C., Marklund, H., Haghgoo, B., Ball, R., Shpanskaya, K., Seekins, J., Mong, D. A., Halabi, S. S., Sandberg, J. K., Jones, R., Larson, D. B., Langlotz, C. P., Patel, B. N., Lungren, M. P., & Ng, A. Y. (2019). CheXpert: A Large Chest Radiograph Dataset with Uncertainty Labels and Expert Comparison. In arXiv.org. https://arxiv.org/abs/1901.07031

- Johnson, A. E. W., Pollard, T. J., Greenbaum, N. R., Lungren, M. P., Deng, C., Peng, Y., Lu, Z., Mark, R. G., Berkowitz, S. J., & Horng, S. (2019). MIMIC-CXR-JPG, a large publicly available database of labeled chest radiographs. In arXiv.org. https://arxiv.org/abs/1901.07042

- Reproducing and Improving CHEXNET: Deep Learning for Chest X-ray disease Classification. (2019). In arXiv.org. https://arxiv.org/html/2505.06646v1

- Nishikiori, H., Kuronuma, K., Hirota, K., Yama, N., Suzuki, T., Onodera, M., Onodera, K., Ikeda, K., Mori, Y., Asai, Y., Takagi, Y., Honda, S., Ohnishi, H., Hatakenaka, M., Takahashi, H., & Chiba, H. (n.d.). Deep-learning algorithm to detect fibrosing interstitial lung disease on chest radiographs. European Respiratory Journal, 61(2), 2102269. https://doi.org/10.1183/13993003.02269-2021

- Colombi, D., Marvisi, M., Ramponi, S., Balzarini, L., Mancini, C., Milanese, G., Silva, M., Sverzellati, N., Uccelli, M., & Ferrozzi, F. (n.d.). Computer-Aided Evaluation of Interstitial Lung Diseases. Diagnostics, 15(7), 943. https://doi.org/10.3390/diagnostics15070943

- Chen, Y., Wan, Y., & Pan, F. (2023). Enhancing Multi-disease Diagnosis of Chest X-rays with Advanced Deep-learning Networks in Real-world Data. Journal of Digital Imaging, 36(4), 1332–1347. https://doi.org/10.1007/s10278-023-00801-4

- Gao, X., Xie, D., Zhang, Y., Wang, Z., Chen, C., He, C., Yin, H., & Zhang, W. (2025). A comprehensive survey on imbalanced data learning. arXiv.org. https://doi.org/10.1007/s11704-025-50274-7

- Kim, J. Y., Ryu, W., Kim, D., & Kim, E. Y. (2024). Better performance of deep learning pulmonary nodule detection using chest radiography with pixel level labels in reference to computed tomography: data quality matters. Scientific Reports, 14(1). https://doi.org/10.1038/s41598-024-66530-y

- Rana, N., Coulibaly, Y., Noor, A., Noor, T. H., Alam, M. I., Khan, Z., Tahir, A., & Khan, M. Z. (2025). Improved swin transformer-based thorax disease classification with optimal feature selection using chest X-ray. PLoS ONE, 20(6), e0327099. https://doi.org/10.1371/journal.pone.0327099

- Shorten, C., & Khoshgoftaar, T. M. (2019). A survey on Image Data Augmentation for Deep Learning. Journal of Big Data, 6(1). https://doi.org/10.1186/s40537-019-0197-0

- Chawla, N. V., Bowyer, K. W., Hall, L. O., & Kegelmeyer, W. P. (2002). SMOTE: Synthetic Minority Over-sampling technique. Journal of Artificial Intelligence Research, 16, 321–357. https://doi.org/10.1613/jair.953

- Huang, G., Liu, Z., Van Der Maaten, L., & Weinberger, K. Q. (2017, July 1). Densely connected convolutional networks. In Densely Connected Convolutional Networks. https://doi.org/10.1109/cvpr.2017.243

- He, K., Zhang, X., Ren, S., & Sun, J. (2016). Deep residual learning for image recognition. https://doi.org/10.1109/cvpr.2016.90

- Liu, Z., Lin, Y., Cao, Y., Hu, H., Wei, Y., Zhang, Z., Lin, S., & Guo, B. (2021). Swin Transformer: Hierarchical Vision Transformer using Shifted Windows. In arXiv (Cornell University). IEEE. https://doi.org/10.48550/arxiv.2103.14030

- Tiu, E., Talius, E., Patel, P., Langlotz, C. P., Ng, A. Y., & Rajpurkar, P. (2022). Expert-level detection of pathologies from unannotated chest X-ray images via self-supervised learning. Nature Biomedical Engineering, 6(12), 1399–1406. https://doi.org/10.1038/s41551-022-00936-9

- Selvaraju, R. R., Cogswell, M., Das, A., Vedantam, R., Parikh, D., & Batra, D. (2017). Grad-CAM: Visual Explanations from Deep Networks via Gradient-Based Localization. In IEEE (pp. 618–626). IEEE. https://doi.org/10.1109/iccv.2017.74

- Cohen, J. (1960). A coefficient of agreement for nominal scales. Educational and Psychological Measurement, 20(1), 37–46. https://doi.org/10.1177/001316446002000104

- Loshchilov, I., & Hutter, F. (2017). Decoupled weight decay regularization. arXiv (Cornell University). https://doi.org/10.48550/arxiv.1711.05101

- Iqbal, S., Qureshi, A. N., Li, J., Choudhry, I. A., & Mahmood, T. (2023). Dynamic learning for imbalanced data in learning chest X-ray and CT images. Heliyon, 9(6), e16807. https://doi.org/10.1016/j.heliyon.2023.e16807